## Sheet1
Packing list
Description |  | MT5000/DSS1
Packing list № |  |  | S/N
Item | № | Description | Q-ty | Packing | Remarks
Basis | 1 | MT5300L microscope stand | 1
| 2 | Trinocular head | 1
| 3 | Eyepiece block | 1
| 4 | SWH 10x, F. N. 22 mm eyepiece | 2
| 5 | Eyepiece eyecup | 2
| 6 | Condenser N. A. 0.9/1.25 | 1
| 7 | Motorized stage for 1 slide | 1
| 8 | MA motorized focus drive | 1
| 9 | Adapter plate for focus drive (two plates, steel pin, screw) | 1
| 10 | Retaining ring for focus drive | 1
| 11 | Spring-loaded coupling with two screws | 1
| 12 | Tango 3-axis controller | 1
| 13 | 3-axis joystick | 1
| 14 | PC | 1
| 15 | Monitor | 1
| 16 | Keyboard | 1
| 17 | Mouse | 1
| 18 | Mouse pad | 1
| 19 | Microscope dust protection | 1
| 20 | Object micrometer | 1
| 21 | Vision Slide software (CD) | 1
| 22 | Protection dongle | 1
| 23 | 3-axis motor cable | 1
| 24 | Power cable | 3
| 25 | Surge protector | 1
| 26 | Countersunk screw M3x6 DIN 7991 for focus drive | 2
| 27 | Allen screw M3x8 DIN 912 for stage | 4
| 28 | Screw kit (SW 3.0, 2.5, 2.0, 1.5, 1.3) | 1
Optics | 29 | Objective UPLSAPO 20x/0.75 | 1
| 30 | Optical С-mount 0.7x | 1
| 31 | Digital camera CAM V3400 | 1
| 32 | Camera power supply | 1
| 33 | Camera power extension cord | 1
| 34 | Camera USB cable | 1
Documentation | 35 | Software user manual | 1
| 36 | System user manual | 1
| 37 | Packing list | 1
Packed by:
Date: