## Sheet1
Packing list
Description |  | IM7200 Motorized microscope
Packing list № |  |  | S/N
Item | № | Description | Q-ty | Packing | Remarks
| 1 | IM7200 microscope stand | 1
| 2 | Trinocular head | 1
| 3 | Eyepiece block | 1
| 4 | SWH 10x, F. N. 22 mm eyepiece | 2
| 5 | Eyepiece eyecup | 2
| 6 | Kohler vertical illuminator | 1
| 7 | Blue filter | 1
| 8 | Green filter | 1
| 9 | Polarization filter | 1
| 10 | Neutral density filter | 1
| 11 | Motorized scanning stage 120x100 mm | 1
| 12 | MA motorized focus drive | 1
| 13 | Adapter plate for focus drive (two plates, steel pin, screw) | 1
| 14 | Retaining ring for focus drive | 1
| 15 | Spring-loaded coupling with two screws | 1
| 16 | Tango 3-axis controller | 1
| 17 | 3-axis joystick | 1
| 18 | PC | 1
| 19 | Monitor | 1
| 20 | Keyboard | 1
| 21 | Mouse | 1
| 22 | Mouse pad | 1
| 23 | Microscope dust protection | 1
| 24 | Object micrometer | 1
| 25 | 3-axis motor cable | 1
| 26 | Power cable | 3
| 27 | Surge protector | 1
| 28 | Countersunk screw M3x6 DIN 7991 for focus drive | 2
| 29 | Allen screw M3x8 DIN 912 for stage | 4
| 30 | Screw kit (SW 3.0, 2.5, 2.0, 1.5, 1.3) | 1
| 31 | Objective Planachromat E5x/0.10 | 1
| 32 | Objective Planachromat E10x/0.25 | 1
| 33 | Objective Planachromat E20x/0.40 | 1
| 34 | Objective Planachromat E50x/0.75 | 1
| 35 | Optical С-mount 0.5x | 1
| 36 | Digital camera CAM V3200 | 1
| 37 | Camera power supply | 1
| 38 | Camera power extension cord | 1
| 39 | Camera USB cable | 1
| 40 | User manual | 1
| 41 | Packing list | 1
Packed by:
Date: